## Residential
Project Capacity - RESIDENTIAL
A = Type of Unit | B = Number of Units | C = Population per Unit | D = Total Population (B x C) | E = Per Capita Flow (gpd) | F = Total Average Daily Flow (gpd) (D x E) | G = Peak hour flow (gpm)
Residence* |  | 2.5 | 0 | 100 | 0 | 0
*100 gal/day per person and 2.5 people per household = 250 GPD per residential unit per Collier County Design Criteria, Part 2 "Wastewater Collection and Transmission Systems"
| Peak Factor = | 18 + (P)1/2
4 + (P)1/2
| P= | 0 | (total population / 1000)
| Peak Factor (PF) = | 4.5
Note: Peak factor calculation per 10 State Standards.

## Commercial
Project Capacity - COMMERCIAL | [6 empty] | Count | Index | Type
Airport, bus terminal, train station, port or dock facility, restroom waste only |  |  |  | # Units | GPD/Unit | GPD | 0
per passenger |  |  |  |  | 4 | 0 | 0 |  | Airport, bus terminal, train station, port or dock facility, restroom waste only
per employee per 8-hour shift |  |  |  |  | 15 | 0 | 0 |  | Airport, bus terminal, train station, port or dock facility, restroom waste only
|  |  |  | Subtotal |  | 0 | 0
0
Barber & beauty shop |  |  |  | # Units | GPD/Unit | GPD | 0
per service chair |  |  |  |  | 75 | 0 | 0 |  | Barber & beauty shop
|  |  |  | Subtotal |  | 0 | 0
0
Bowling alley, restroom waste only |  |  |  | # Units | GPD/Unit | GPD | 0
per lane |  |  |  |  | 50 | 0 | 0 |  | Bowling alley, restroom waste only
|  |  |  | Subtotal |  | 0 | 0
0
Country club |  |  |  | # Units | GPD/Unit | GPD | 0
per resident |  |  |  |  | 100 | 0 | 0 |  | Country club
per member or patron |  |  |  |  | 25 | 0 | 0 |  | Country club
per employee per 8-hour shift |  |  |  |  | 15 | 0 | 0 |  | Country club
|  |  |  | Subtotal |  | 0 | 0
0
Doctor and dentist office |  |  |  | # Units | GPD/Unit | GPD | 0
per practitioner |  |  |  |  | 250 | 0 | 0 |  | Doctor and dentist office
per employee per 8-hour shift |  |  |  |  | 15 | 0 | 0 |  | Doctor and dentist office
|  |  |  | Subtotal |  | 0 | 0
0
Factory, exclusive of industrial waste |  |  |  | # Units | GPD/Unit | GPD | 0
per employee per 8-hour shift |  |  |  |  | 15 | 0 | 0 |  | Factory, exclusive of industrial waste
Showers provided? |  |  |  | Subtotal |  | 0 | 0
0
Flea market |  |  |  | # Units | GPD/Unit | GPD | 0
per non-food service vendor space |  |  |  |  | 15 | 0 | 0 |  | Flea market
per food service establishment using single service articles only, per square foot of floor space |  |  |  |  | 0.5 | 0 | 0 |  | Flea market
per limited food service establishment |  |  |  |  | 25 | 0 | 0 |  | Flea market
Operating days per week: |  |  |  | Subtotal |  | 0 | 0
0
Food operations |  |  |  | # Units | GPD/Unit | GPD | 0
Restaurant operating 16 hours or less per day, per seat |  |  |  |  | 40 | 0 | 0 |  | Food operations
Restaurant operating more than 16 hours per day, per seat |  |  |  |  | 60 | 0 | 0 |  | Food operations
Restaurant using single service articles only and operating 16 hours or less per day, per seat |  |  |  |  | 20 | 0 | 0 |  | Food operations
Restaurant using single service articles only and operating more than 16 hours per day, per seat |  |  |  |  | 35 | 0 | 0 |  | Food operations
Bar and cocktail lounge, per seat |  |  |  |  | 20 | 0 | 0 |  | Food operations
Add per pool table or video game |  |  |  |  | 15 | 0 | 0 |  | Food operations
Drive-in restaurant, per car space |  |  |  |  | 50 | 0 | 0 |  | Food operations
Carry-out only, including caterers, per square foot of floor space |  |  |  |  | 0.5 | 0 | 0 |  | Food operations
Add per employee per 8-hour shift |  |  |  |  | 15 | 0 | 0 |  | Food operations
Institutions, per meal |  |  |  |  | 5 | 0 | 0 |  | Food operations
Food Outlets, excluding deli, bakery, or meat department, per square foot of floor space |  |  |  |  | 0.1 | 0 | 0 |  | Food operations
Add for deli, per square foot of floor space |  |  |  |  | 0.4 | 0 | 0 |  | Food operations
Add for bakery, per square foot of floor space |  |  |  |  | 0.4 | 0 | 0 |  | Food operations
Add for meat department, per square foot of floor space |  |  |  |  | 0.75 | 0 | 0 |  | Food operations
Add per water closet |  |  |  |  | 200 | 0 | 0 |  | Food operations
|  |  |  | Subtotal |  | 0 | 0
0
Hotel or motel |  |  |  | # Units | GPD/Unit | GPD | 0
Regular, per room |  |  |  |  | 100 | 0 | 0 |  | Hotel or motel
Resort hotels, camps, cottages, per room |  |  |  |  | 200 | 0 | 0 |  | Hotel or motel
Add for establishments with self service laundry facilities, per machine |  |  |  |  | 750 | 0 | 0 |  | Hotel or motel
|  |  |  | Subtotal |  | 0 | 0
0
Mobile home park |  |  |  | # Units | GPD/Unit | GPD | 0
per single wide mobile home space |  |  |  |  | 250 | 0 | 0 |  | Mobile home park
per double wide mobile home space |  |  |  |  | 300 | 0 | 0 |  | Mobile home park
|  |  |  | Subtotal |  | 0 | 0
0
Office building |  |  |  | # Units | GPD/Unit | GPD | 0
per employee per 8-hour shift or |  |  |  |  | 15 | 0 | 0 |  | Office building
per square foot of floor space, whichever is greater |  |  |  |  | 0.15 | 0 | 0 |  | Office building
|  |  |  | MAXIMUM |  | 0 | 0
0
Transient recreational vehicle park, overnight stay |  |  |  | # Units | GPD/Unit | GPD | 0
Without water and sewer hookups, per RV space |  |  |  |  | 50 | 0 | 0 |  | Transient recreational vehicle park, overnight stay
With water and sewer hookups, per RV space |  |  |  |  | 75 | 0 | 0 |  | Transient recreational vehicle park, overnight stay
|  |  |  | Subtotal |  | 0 | 0
0
Service station |  |  |  | # Units | GPD/Unit | GPD | 0
per water closet |  |  |  |  | 250 | 0 | 0 |  | Service station
Operating hours per day: |  |  |  | Subtotal |  | 0 | 0
0
Shopping center, without food or laundry |  |  |  | # Units | GPD/Unit | GPD | 0
per square foot of floor space |  |  |  |  | 0.1 | 0 | 0 |  | Shopping center, without food or laundry
|  |  |  | Subtotal |  | 0 | 0
0
Stadium, race track, or ball park |  |  |  | # Units | GPD/Unit | GPD | 0
per seat |  |  |  |  | 4 | 0 | 0 |  | Stadium, race track, or ball park
|  |  |  | Subtotal |  | 0 | 0
0
Store |  |  |  | # Units | GPD/Unit | GPD | 0
per restroom |  |  |  |  | 200 | 0 | 0 |  | Store
|  |  |  | Subtotal |  | 0 | 0
0
Swimming and bathing facility, public |  |  |  | # Units | GPD/Unit | GPD | 0
per person |  |  |  |  | 10 | 0 | 0 |  | Swimming and bathing facility, public
|  |  |  | Subtotal |  | 0 | 0
0
Theater or auditorium |  |  |  | # Units | GPD/Unit | GPD | 0
per seat |  |  |  |  | 4 | 0 | 0 |  | Theater or auditorium
|  |  |  | Subtotal |  | 0 | 0
0
Veterinary clinic |  |  |  | # Units | GPD/Unit | GPD | 0
per practicioner |  |  |  |  | 250 | 0 | 0 |  | Veterinary clinic
per employee per 8-hour shift |  |  |  |  | 15 | 0 | 0 |  | Veterinary clinic
per kennel, stall or cage |  |  |  |  | 20 | 0 | 0 |  | Veterinary clinic
|  |  |  | Subtotal |  | 0 | 0
0
Warehouse, excluding offices and living quarters |  |  |  | # Units | GPD/Unit | GPD | 0
per employee per 8-hour shift |  |  |  |  | 15 | 0 | 0 |  | Warehouse, excluding offices and living quarters
per loading bay |  |  |  |  | 100 | 0 | 0 |  | Warehouse, excluding offices and living quarters
per self-storage unit (first 200 units) |  |  |  |  | 1 | 0 | 0 |  | Warehouse, excluding offices and living quarters
per self-storage unit (additional units) |  |  |  |  | 0.5 | 0 | 0 |  | Warehouse, excluding offices and living quarters
|  |  |  | Subtotal |  | 0 | 0
0
Other |  |  |  | # Units | GPD/Unit | GPD | 0
[6 empty] | 0 | 0 |  | Other
[6 empty] | 0 | 0 |  | Other
[6 empty] | 0 | 0 |  | Other
|  |  |  | Subtotal |  | 0 | 0
Total Average Daily Flow (GPD) | Peak Factor | Total Peak Hour Flow (GPD) | Total Peak Hour Flow (GPM)
0 | 4.5 | 0 | 0
Enter number of units above. | [7 empty] | Index
Print the below summary.
Project Capacity - COMMERCIAL
Type of Establishment |  |  |  | # Units | GPD/Unit | GPD
1
2
3
4
5
6
7
8
9
10
11
12
|  |  |  | Subtotal |  | 0
Total Average Daily Flow (GPD) | Peak Factor | Total Peak Hour Flow (GPD) | Total Peak Hour Flow (GPM)
0 | 4.5 | 0 | 0

## Institutional
Project Capacity - INSTITUTIONAL | [6 empty] | Count | Index | Type
Church, including typical kitchen wastewater flows |  |  |  | # Units | GPD/Unit | GPD | 0
per seat |  |  |  |  | 3 | 0 | 0 |  | Church, including typical kitchen wastewater flows
Regularly prepared meals per day: |  |  |  | Subtotal |  | 0 | 0
0
Hospital, excluding kitchen wastewater flows |  |  |  | # Units | GPD/Unit | GPD | 0
per bed |  |  |  |  | 200 | 0 | 0 |  | Hospital, excluding kitchen wastewater flows
Regularly prepared meals per day: |  |  |  | Subtotal |  | 0 | 0
0
Nursing, rest home, or adult congregate living facility, excluding kitchen wastewater flows |  |  |  | # Units | GPD/Unit | GPD | 0
per bed |  |  |  |  | 100 | 0 | 0 |  | Nursing, rest home, or adult congregate living facility, excluding kitchen wastewater flows
Regularly prepared meals per day: |  |  |  | Subtotal |  | 0 | 0
0
Park, public picnic |  |  |  | # Units | GPD/Unit | GPD | 0
toilets only, per person |  |  |  |  | 4 | 0 | 0 |  | Park, public picnic
bathhouse, showers & toilets, per person |  |  |  |  | 10 | 0 | 0 |  | Park, public picnic
|  |  |  | Subtotal |  | 0 | 0
0
Public institution other than school or hospital, excluding kitchen wastewater flows |  |  |  | # Units | GPD/Unit | GPD | 0
per person |  |  |  |  | 100 | 0 | 0 |  | Public institution other than school or hospital, excluding kitchen wastewater flows
Regularly prepared meals per day: |  |  |  | Subtotal |  | 0 | 0
0
School |  |  |  | # Units | GPD/Unit | GPD | 0
day type, per student |  |  |  |  | 10 | 0 | 0 |  | School
day type, per worker |  |  |  |  | 15 | 0 | 0 |  | School
boarding type, per student |  |  |  |  | 75 | 0 | 0 |  | School
Showers? |  | Cafeteria? |  | Subtotal |  | 0 | 0
0
Work/construction camps, semi-permanent |  |  |  | # Units | GPD/Unit | GPD | 0
per worker |  |  |  |  | 50 | 0 | 0 |  | Work/construction camps, semi-permanent
|  |  |  | Subtotal |  | 0 | 0
0
Other |  |  |  | # Units | GPD/Unit | GPD | 0
[6 empty] | 0 | 0 |  | Other
[6 empty] | 0 | 0 |  | Other
[6 empty] | 0 | 0 |  | Other
|  |  |  | Subtotal |  | 0 | 0
Total Average Daily Flow (GPD) | Peak Factor | Total Peak Hour Flow (GPD) | Total Peak Hour Flow (GPM)
0 | 4.5 | 0 | 0
Enter number of units above.
Print the below summary.
Project Capacity - INSTITUTIONAL | [7 empty] | Index
Type of Establishment |  |  |  | # Units | GPD/Unit | GPD
1
2
3
4
5
6
7
8
9
10
11
12
|  |  |  | Subtotal |  | 0
Total Average Daily Flow (GPD) | Peak Factor | Total Peak Hour Flow (GPD) | Total Peak Hour Flow (GPM)
0 | 4.5 | 0 | 0

## Mixed Use
Project Capacity - MIXED USE
A = Type of Unit | B = Number of Units | C = Population per Unit | D = Total Population (B x C) | E = Per Capita Flow (gpd) | F = Total Average Daily Flow (gpd) (D x E) | G = Peak hour flow (gpm)
Residential* | 0 | 2.5 | 0 | 100 | 0 | 0
Commercial** |  |  | 0 | 100 | 0 | 0
Institutional** |  |  | 0 | 100 | 0 | 0
TOTAL |  |  | 0 | 100 | 0 | 0
*100 gal/day per person and 2.5 people per household = 250 GPD per residential unit per Collier County Design Criteria, Part 2 "Wastewater Collection and Transmission Systems"
**Use population equivalent based on average daily flow.
| Peak Factor = | 18 + (P)1/2
4 + (P)1/2
| P= | 0 | (total population / 1000)
| Peak Factor (PF) = | 4.5
Note: Peak factor calculation per 10 State Standards.

## 62-6.008
64E-6.008 System Size Determinations
(1) Minimum design flows for systems serving any structure, building or group of buildings shall be based on the estimated daily sewage flow as determined from previous tabs.
(a) The DOH county health department shall accept, for other than residences and food operations, metered water use data in lieu of the estimated sewage flows set forth in Table I. For metered flow consideration, the applicant shall provide authenticated monthly water use data documenting water consumption for the most recent 12 month period for at least six similar establishments. Similar establishments are those like size operations engaged in the same type of business or service, which are located in the same type of geographic environment, and which have approximately the same operating hours. Metered flow values will not be considered to be a reliable indicator of typical water use where one or more of the establishments utilized in the sample has exceeded the monthly flow average for all six establishments by more than 25 percent or where the different establishments demonstrate wide variations in monthly flow totals. When metered flow data is accepted in lieu of estimated flows found in Table I, the highest flow which occurred in any month for any of the six similar establishments shall be used for system sizing purposes. Except for food operations which exceed domestic sewage waste quality parameters as defined in subsection 64E-6.002(15), F.A.C., where an existing establishment which has been in continuous operation for the previous 24 months seeks to utilize its own metered flows, the applicant shall provide authenticated monthly water use data documenting water consumption for the most recent 24 month period. The highest monthly metered flow value for an existing establishment shall be used for system sizing purposes.
(b) When onsite systems use multiple strategies to reduce the total estimated sewage flow or the drainfield size, only one reduction method shall be credited.
Footnotes
1. For food operations, kitchen wastewater flows shall normally be calculated as 66 percent of the total establishment wastewater flow.
2. Systems serving high volume establishments, such as restaurants, convenience stores and service stations located near interstate type highways and similar high-traffic areas, require special sizing consideration due to expected above average sewage volume. Minimum estimated flows for these facilities shall be 3.0 times the volumes determined from the Table I figures.
3. For residences, the volume of wastewater shall be calculated as 50 percent blackwater and 50 percent graywater.
4. Where the number of bedrooms indicated on the floor plan and the corresponding building area of a dwelling unit in Table I do not coincide, the criteria which will result in the greatest estimated sewage flow shall apply.
5. Convenience store estimated sewage flows shall be determined by adding flows for food outlets and service stations as appropriate to the products and services offered.
6. Estimated flows for residential systems assumes a maximum occupancy of two persons per bedroom. Where residential care facilities will house more than two persons in any bedroom, estimated flows shall be increased by 50 gallons per each additional occupant.

## Collier Co Design Crit
PART 2 WASTEWATER COLLECTION AND TRANSMISSION SYSTEMS
All wastewater pipe, material, equipment and appurtenances shall be new, and shall conform to Section 2, Technical Specifications and Section 3, Utilities Detail Drawings. Wastewater systems shall be designed to maintain adequate flows and standards as established by Florida Department of Environmental Protection (FDEP), using the equivalent residential connection (ERC) value of 250 gallons per day per residential unit (broken down to 100 gallons per day per person and 2.5 people per household) and F.A.C. 64E-6.008 for nonresidential. All wastewater projects shall be designed to preclude the deliberate introduction of storm water, surface water, groundwater, roof runoff, subsurface drainage, swimming pool drainage, air conditioning system condensate water, non-contact cooling water, and sources of uncontaminated wastewater as specified in F.A.C. Chapter 62-610 and comply with Ordinance 2012-13 “Collier County Industrial Pretreatment Ordinance.”
Special attention shall be given to gravity lines that receive flows from wastewater transmission or re-pumping facilities. Due care shall be taken in these cases to ensure that no surcharge conditions occur downstream due to excessive flow rates. Under no conditions shall pipe of a diameter larger than that necessary for proper hydraulic design as determined by the COUNTY Growth Management Division or Public Utilities Planning and Project Management Department be permitted for use on any project.

## 10 State Standards
10 State Standards